## Overview
Safety-Aware Elevation of Privilege — Consolidated Workshop Results
Raw threat outputs from the EoP game sessions (Sechi & Saad Noori, SecAssure 2026).
Session inventory
Session | Participants | Date | # threats | Recording
A — Conf. workshop | Researchers / academics at a Norwegian Cybersecurity Conference Workshop — 4 teams (Leonardo, Donatello, Michelangelo, Raphael) | 24 Nov 2025 | 11 | Online platform + facilitator notes
B — CTF group | A university cybersecurity capture-the-flag group — seven students in three pairs (binômes), recorded as Students A, B, C | 6 Feb 2026 | 16 | Online platform + facilitator notes
C — Master students | University master students — Group A & Group B | 25 Feb 2026 | 2 threats tagged (7 entries) | Paper table + cards + facilitator notes
A 3-threat platform tutorial demo (24 Nov) was excluded as non-data. Facilitator notes were kept for all three sessions. Identifying details are anonymised: student names as Student A–H, and the conference teams as fantasy names (Leonardo, Donatello, Michelangelo, Raphael).
What the columns mean
Cyber severity (High/Medium/Low) | The threat's information-security impact — confidentiality, integrity, availability — rated during EoP play. The security axis of the game; NOT the physical/safety consequence.
Safety/HSE impact (High/Medium/Low) | The physical / health-safety-environment consequence if the threat succeeds (modification M3). Independent of cyber severity.
High | Direct risk of injury, major outage, severe equipment damage, environmental impact.
Medium | Contributes to unsafe conditions (loss of operator visibility, delayed response, weakened protection).
Low / None | Mainly financial, reputational or confidentiality impact; no plausible path to a physical hazard.
Note on Mitigation: discussing mitigations was deliberately out of scope in these sessions — the focus was the Safety/HSE impact dimension — so only a few were recorded. In EoP a mitigation addresses the underlying cybersecurity threat (the STRIDE vulnerability) by design, not the safety impact directly; reducing the cyber threat is what lowers the safety consequence.
All values are recorded data. Cyber severity (Sessions A & B) is from the platform; Safety/HSE impact (Session C) is from the participant groups; and the Safety/HSE impact (A & B) and Cyber severity (C) are confirmed from the facilitator's session notes — see the 'Facilitator notes' sheet for the per-threat reasoning.

## All Threats
Session | No. | Threat name | STRIDE | Cyber severity | Author / group | Description | Mitigation | Device / connection link | Safety/HSE impact | Safety reasoning
A — Conf. workshop | 1 | OT network layer tampering | Tampering | High | Table 2: Donatello | Modify the build system and produce signed builds, reaching the process/OT network layer. |  | Process / OT network layer | High | This reaches the OT/process layer directly, so the link to physical process impact is clear.
A — Conf. workshop | 2 | Insert a backdoor in the SCADA HMI | Tampering | Medium | Table 3: Michelangelo | Modify the build system and produce signed builds. |  | SCADA HMI | Medium | The HMI mainly affects supervision and operator trust. It becomes safety-critical if it leads to wrong decisions, but it is not direct actuation by itself.
A — Conf. workshop | 3 | VPN key | Tampering | Medium | Table 4: Raphael | Use the custom key to access VPN remote access. |  | VPN remote access | Medium | A VPN key is mainly an access path into the SCADA environment. The safety impact depends on what the attacker can reach after that.
A — Conf. workshop | 4 | Backdoor (MTU) | Tampering | High | Table 1: Leonardo | MTU backdoor: change safety features, raise allowed operating temperatures / max volts to cause physical wear and tear. | Code-scanning tool to verify expected behaviour. | MTU | High | The MTU is close to process control, so a backdoor could affect commands, limits, or process behaviour.
A — Conf. workshop | 5 | Replaying of commands between RTU and IED | Tampering | High | Table 3: Michelangelo | Replay commands sent to the IED to cause unexpected physical behaviour. |  | RTU ↔ IED | High | Replayed commands on this path can trigger unintended field actions, so the safety link is direct.
A — Conf. workshop | 6 | MTU data tampering | Tampering | High | Table 4: Raphael | Manipulate MTU sensor data/logs to damage the system. |  | MTU | High | False MTU data can make operators act on an incorrect process state, which may lead to unsafe operation or equipment damage.
A — Conf. workshop | 7 | SCADA HMI tampering | Tampering | Medium | Table 2: Donatello | Replay incorrect values on the SCADA HMI. |  | SCADA HMI | Medium | This mainly affects what operators see and trust. The safety impact is indirect unless control actions are also affected.
A — Conf. workshop | 8 | Displaying old data | Tampering | Medium | Table 1: Leonardo | Feed the MTU outdated historical data so a future attack is not discovered as quickly. |  | MTU | Medium | Stale data can delay detection and response. The risk is serious, but it works through loss of visibility rather than direct control.
A — Conf. workshop | 9 | Create information blindness | Tampering | High | Table 1: Leonardo | Clone sensors with fake virtual ones; the system loses data from the 'ghost' segment so attacks and safety hazards needing operator input go unnoticed. |  | Field sensors | High | If operators or protection functions lose visibility of part of the process, hazards may go unnoticed.
A — Conf. workshop | 10 | MTU safety-parameter tampering | Tampering | High | Table 2: Donatello | Tamper with limits/alerts for PLC safety events. |  | MTU / PLC safety parameters | High | Changing safety parameters directly weakens or bypasses a protection layer.
A — Conf. workshop | 11 | Attack via physical device (USB) | Tampering | Medium | Table 4: Raphael | Malicious USB in the HMI workstation runs a payload to gain access, execute code, and manipulate displayed process data. |  | HMI workstation | Medium | A USB attack is an entry point. It becomes high only if the compromise reaches process control or safety-related functions.
B — CTF group | 1 | Tampering (SCADA Server) | Tampering | Medium | Student A | Modify the build system and produce signed builds. Tampering the SCADA Server. |  | SCADA Server | High | Treated as high if the SCADA server can be manipulated, because it may affect supervision, commands, and the path toward OT control.
B — CTF group | 2 | Tampering the DES | Tampering | Medium | Student B | No integrity protection; send false alerts to the DES to throw operators off. |  | Data Exchange Server (DES) | Low–Medium | The DES can mislead operators or disturb data exchange, but the safety link is indirect unless it changes operational decisions or enables deeper SCADA access.
B — CTF group | 3 | DMZ Firewall | Tampering | High | Student C | Modify firewall rules to allow access to the SCADA network that should be limited to the DMZ. |  | DMZ Firewall | Medium–High | The firewall itself is not the hazard. The safety impact becomes high if rule changes open a path from IT/DMZ into SCADA or OT.
B — CTF group | 4 | Router | Tampering | Medium | Student B | Tamper with the router to reroute packets and eavesdrop. |  | Router / Office network | Low–Medium | A good example of the CTF group focusing on familiar IT. An office router is not automatically safety-critical unless it carries SCADA or OT traffic.
B — CTF group | 5 | VPN firewall | Tampering | Medium | Student C | Load code via an extension point; loosen restrictions on the VPN connection to SCADA. |  | VPN Firewall / SCADA | Medium | Weak VPN controls make access easier, but the safety impact depends on whether that access can reach SCADA or OT functions.
B — CTF group | 6 | MTU | Tampering | High | Student B | Override the command the MTU gives the SCADA server; make the MTU a slave. |  | MTU | High | The MTU is close to the control process. Compromise here can influence commands or process coordination.
B — CTF group | 7 | Remote access | Tampering | Low | Student B | Malicious injected browser tampers with the remote-access install. |  | Remote-access server | Low–Medium | Remote access is an entry point rather than a direct safety mechanism. It becomes more safety-relevant if it gives a credible path into SCADA.
B — CTF group | 8 | SCADA HMI | Spoofing | High | Student B | Take over the port/socket the server uses to see operator actions and control the interface. |  | SCADA HMI | High | The HMI can affect what operators see and possibly what they command, creating a clear path to unsafe decisions or control actions.
B — CTF group | 9 | Workstation | Spoofing | Medium | Student C | Spoofing the office workstation gives access to the SCADA network. |  | Office workstation | Medium | An office workstation is not directly safety-critical, but it matters if it becomes a pivot point toward SCADA.
B — CTF group | 10 | RTU | Spoofing | Medium | Student B | Spoof the process network to control that part of the line. |  | RTU / process network | High | The RTU is connected to the physical process, so compromise can directly affect field behaviour.
B — CTF group | 11 | Spoofing VPN | Spoofing | Medium | Student C | Gives access to the SCADA network. |  | VPN | Medium | VPN spoofing is not the safety impact itself. It matters because it may create access to SCADA or OT.
B — CTF group | 12 | Credibility | Spoofing | High | Student A | Hijack the JWT via XSS on a vulnerable company site, then traverse it with those credentials. | Encrypt credentials. | Company web app / JWT | Low | Mainly IT-focused: identity, trust, web security, or confidentiality. There is no clear physical process path.
B — CTF group | 13 | Data Exchange server | Spoofing | High | Student B | Steal credentials stored on the server (e.g. world-readable key) and reuse them to bypass login. |  | Data Exchange Server | Low–Medium | DES compromise may support later access or wrong information flow, but the safety effect is indirect unless operational data is altered.
B — CTF group | 14 | Attack the router | Spoofing | High | Student B | Reverse-access the DES and office workstation to map the system as an operator would. |  | Router / DES / workstation | Low–Medium | Reconnaissance or router attacks can support later compromise, but they do not by themselves create physical harm.
B — CTF group | 15 | DDoS for opening gateways | Denial of Service | High | Student A | A DDoS could make servers unresponsive and expose infrastructure vulnerabilities. |  | Servers / gateways | Medium–High | Availability loss can become safety-relevant if operators lose monitoring or control during an abnormal process condition.
B — CTF group | 16 | Elevate from the workstations to the SCADA server | Elevation of Privilege | High | Student B | Spoof the workstation and then elevate to the SCADA server. |  | Workstation → SCADA Server | High | The key IT-to-OT escalation path. Once the attack reaches the SCADA server, the safety link becomes strong.
C — Master students | 1 | Tampering 5 | Tampering | High | Group A (Student D, Student E, Student F) | Safety tagging — Round 1 |  | SCADA Servers — SCADA Network | High | SCADA servers lack encryption, so they are susceptible to tampering/interception; recorded-then-reused credentials make severity High. Servers hold many process data points and company-sensitive production info; can severely impact production.
C — Master students | 2 | Tampering 5 (legacy access) | Tampering | Medium | Group A (Student D, Student E, Student F) | Safety tagging — Round 1 |  | Office Network | Low | Occurs if the attacker has user authentication; weakness from legacy configs giving access to the shared folder. Impact could grow via unauthorised document/data leakage.
C — Master students | 3 | EoP 4 | Elevation of Privilege | High | Group A (Student D, Student E, Student F) | Safety tagging — Round 2 |  | SCADA Server — SCADA Network | High | Privileges elevated from a closed environment to the SCADA server; if it is the server, the attacker can hold admin rights.
C — Master students | 4 | EoP 4 | Elevation of Privilege | High | Group A (Student D, Student E, Student F) | Safety tagging — Round 2 |  | OT Network | High | If reached (difficult), the attacker interacts directly with physical assets via IEDs, RTUs and MV/LV bus systems. Impact: physical damage, safety hazards, or complete shutdown.
C — Master students | 5 | EoP 4 (office elevation) | Elevation of Privilege | Medium | Group A (Student D, Student E, Student F) | Safety tagging — Round 2 |  | Office Network | Low–Medium | Initial access to an office workstation gives a foothold; the attacker can attempt to elevate and roam to hidden confidential information.
C — Master students | 6 | Tampering 5 | Tampering | High | Group B (Student G, Student H) | Safety tagging — Round 1 |  | SCADA Server / MTU ↔ RTU (Process WAN link) | High | Attacker on the SCADA–OT path captures legitimate control traffic; messages lack timestamps/nonces/sequence numbers, so valid commands can be replayed undetected. Consequences: unintended breaker operations; energise/de-energise MV bus; overload LV; equipment damage; personnel hazard; grid instability.
C — Master students | 7 | EoP 4 | Elevation of Privilege | High | Group B (Student G, Student H) | Safety tagging — Round 2 |  | SCADA network | Medium | Attacker exploits a containerised service (e.g. VPN Access server) and escapes to the host OS; can send unauthorised control commands and override operator HMI displays.

## Facilitator notes
Facilitator notes — Safety/HSE tagging (confirmed values + reasoning)
1. Questions asked for each accepted threat
Q1. Can it create or enable a dangerous physical state? (e.g. wrong switching of breakers, loss of protection, unstable grid)
Q2. Could it harm people, the environment, or critical equipment? (e.g. risk to field technicians or the public, fire, overload, equipment damage)
Then tag the threat:
High — direct risk of injury, major outage, severe equipment damage.
Medium — contributes to unsafe conditions (loss of visibility, delayed response, weakened protection).
Low/None — mainly financial, reputational or confidentiality impact.
2. Reference architecture (Smart Grid, Purdue model)
Target system zones, top (IT) to bottom (field): Office Network (Router, Workstations & Servers) → DMZ (Firewall, Data Exchange Server) → SCADA Network (SCADA Servers, SCADA HMI, Remote Access via VPN, Firewalls, MTU) → OT Network (Primary Assets, IED, RTU, Switches, Process WAN, Modem, MV Bus, LV Load).
Tagging guideline (good practice, not an absolute rule): as a rule of thumb, the closer a component is to actuating the physical process (MTU, RTU, IED, PLC safety parameters, MV bus, primary assets), the higher its safety impact; IT/DMZ components are usually Low/Medium unless they are a stepping-stone into SCADA/OT. How well it is applied depends on the context the facilitator gives (see sections 3–4).
3. What we observed when participants assessed safety impact
• Conference workshop — reasonably good safety reasoning across the table teams.
• CTF group — weakest: the group attacked what they knew best, so familiar IT components (router, switch) drew the most attention and the actuation→safety link was under-recognised.
• Master students — a good grasp of safety impact emerged through discussion, though the first two threats (Tampering 5, EoP 4) were difficult at first.
Facilitator framing: to help students reason about physical consequences, the facilitator gave examples from the power-system domain. The facilitator is not a power-systems expert but is confident on cyber severity and is developing the safety-impact judgement — so the tags reflect facilitator-scaffolded reasoning and would shift with a different domain framing.
Takeaway: the guideline above is a useful rule of thumb, not an absolute rule; it is not noticed automatically and depends on how the facilitator frames the domain — which is exactly why the explicit safety prompt (M3), concrete domain examples, and group discussion matter.
4. Facilitator-confirmed values (from your notes)
Session A — Conference workshop: confirmed Safety/HSE impact
No. | Threat | Device / layer | Safety | Facilitator note
1 | OT network layer tampering | Process / OT network layer | High | This reaches the OT/process layer directly, so the link to physical process impact is clear.
2 | Insert a backdoor in the SCADA HMI | SCADA HMI | Medium | The HMI mainly affects supervision and operator trust. It becomes safety-critical if it leads to wrong decisions, but it is not direct actuation by itself.
3 | VPN key | VPN remote access | Medium | A VPN key is mainly an access path into the SCADA environment. The safety impact depends on what the attacker can reach after that.
4 | Backdoor (MTU) | MTU | High | The MTU is close to process control, so a backdoor could affect commands, limits, or process behaviour.
5 | Replaying of commands between RTU and IED | RTU ↔ IED | High | Replayed commands on this path can trigger unintended field actions, so the safety link is direct.
6 | MTU data tampering | MTU | High | False MTU data can make operators act on an incorrect process state, which may lead to unsafe operation or equipment damage.
7 | SCADA HMI tampering | SCADA HMI | Medium | This mainly affects what operators see and trust. The safety impact is indirect unless control actions are also affected.
8 | Displaying old data | MTU | Medium | Stale data can delay detection and response. The risk is serious, but it works through loss of visibility rather than direct control.
9 | Create information blindness | Field sensors | High | If operators or protection functions lose visibility of part of the process, hazards may go unnoticed.
10 | MTU safety-parameter tampering | MTU / PLC safety parameters | High | Changing safety parameters directly weakens or bypasses a protection layer.
11 | Attack via physical device (USB) | HMI workstation | Medium | A USB attack is an entry point. It becomes high only if the compromise reaches process control or safety-related functions.
Session B — CTF group: confirmed Safety/HSE impact (recalibrated)
No. | Threat | Device / layer | Safety | Facilitator note
1 | Tampering (SCADA Server) | SCADA Server | High | Treated as high if the SCADA server can be manipulated, because it may affect supervision, commands, and the path toward OT control.
2 | Tampering the DES | Data Exchange Server (DES) | Low–Medium | The DES can mislead operators or disturb data exchange, but the safety link is indirect unless it changes operational decisions or enables deeper SCADA access.
3 | DMZ Firewall | DMZ Firewall | Medium–High | The firewall itself is not the hazard. The safety impact becomes high if rule changes open a path from IT/DMZ into SCADA or OT.
4 | Router | Router / Office network | Low–Medium | A good example of the CTF group focusing on familiar IT. An office router is not automatically safety-critical unless it carries SCADA or OT traffic.
5 | VPN firewall | VPN Firewall / SCADA | Medium | Weak VPN controls make access easier, but the safety impact depends on whether that access can reach SCADA or OT functions.
6 | MTU | MTU | High | The MTU is close to the control process. Compromise here can influence commands or process coordination.
7 | Remote access | Remote-access server | Low–Medium | Remote access is an entry point rather than a direct safety mechanism. It becomes more safety-relevant if it gives a credible path into SCADA.
8 | SCADA HMI | SCADA HMI | High | The HMI can affect what operators see and possibly what they command, creating a clear path to unsafe decisions or control actions.
9 | Workstation | Office workstation | Medium | An office workstation is not directly safety-critical, but it matters if it becomes a pivot point toward SCADA.
10 | RTU | RTU / process network | High | The RTU is connected to the physical process, so compromise can directly affect field behaviour.
11 | Spoofing VPN | VPN | Medium | VPN spoofing is not the safety impact itself. It matters because it may create access to SCADA or OT.
12 | Credibility | Company web app / JWT | Low | Mainly IT-focused: identity, trust, web security, or confidentiality. There is no clear physical process path.
13 | Data Exchange server | Data Exchange Server | Low–Medium | DES compromise may support later access or wrong information flow, but the safety effect is indirect unless operational data is altered.
14 | Attack the router | Router / DES / workstation | Low–Medium | Reconnaissance or router attacks can support later compromise, but they do not by themselves create physical harm.
15 | DDoS for opening gateways | Servers / gateways | Medium–High | Availability loss can become safety-relevant if operators lose monitoring or control during an abnormal process condition.
16 | Elevate from the workstations to the SCADA server | Workstation → SCADA Server | High | The key IT-to-OT escalation path. Once the attack reaches the SCADA server, the safety link becomes strong.
Session C — Master students: confirmed Cyber severity
No. | Threat (group) | Device / link | Cyber sev. | Facilitator note
1 | Tampering 5 (GA) | SCADA Servers — SCADA Network | High | Tampering with SCADA servers affects integrity at a central point in the architecture, so the security impact is high.
2 | Tampering 5 (legacy access) (GA) | Office Network | Medium | Legacy access creates a weaker entry point, especially through shared folders or outdated authentication. The impact is real, but more limited than direct SCADA compromise.
3 | EoP 4 (GA) | SCADA Server — SCADA Network | High | Privilege escalation on the SCADA server is high severity because it can give administrative control over a critical system.
4 | EoP 4 (GA) | OT Network | High | When privilege escalation reaches the OT network, the attacker moves closer to physical assets and control functions.
5 | EoP 4 (office elevation) (GA) | Office Network | Medium | Office-side elevation is a serious foothold, but it remains one step removed from SCADA or OT unless lateral movement is shown.
6 | Tampering 5 (GB) | SCADA Server / MTU ↔ RTU (Process WAN link) | High | Replay or tampering on the SCADA–MTU–RTU path affects command integrity and can make malicious commands appear legitimate.
7 | EoP 4 (GB) | SCADA network | High | A container escape to the host can give broad control of the underlying system, so the compromise is not limited to the application layer.

## STRIDE summary
Threats by STRIDE category and session (auto-counted from 'All Threats')
STRIDE category | Session A — Conf. workshop | Session B — CTF group | Session C — Master* | Total
Tampering | 11 | 7 | 3 | 21
Spoofing | 0 | 7 | 0 | 7
Repudiation | 0 | 0 | 0 | 0
Information Disclosure | 0 | 0 | 0 | 0
Denial of Service | 0 | 1 | 0 | 1
Elevation of Privilege | 0 | 1 | 4 | 5
Total | 11 | 16 | 7 | 34
* Session C was a safety-tagging activity on two threats (Round 1 = Tampering 5; Round 2 = Elevation of Privilege 4), each assessed by Groups A and B across several device links; its entries are tagging assessments, not independent threats.